# PART 1 – GENERAL

## 1.1 SCOPE

A. This section covers grounding and bonding for communications systems.

- All work shall comply with applicable standards.

## 1.2 REFERENCES

A. ANSI/TIA-607-C Commercial Building Grounding standard.

# PART 2 – PRODUCTS

## 2.1 MATERIALS

A. Copper busbars per ANSI-J-STD-607-A.

- Minimum 6mm thickness.

## 2.2 FABRICATION

A. Factory fabricated assemblies only.

# PART 3 – EXECUTION

## 3.1 INSTALLATION

A. Install per manufacturer instructions.

- Torque connections to specified values.

## 3.2 FIELD QUALITY CONTROL

A. Verify continuity after installation.